## Slide 1: Hazardous Materials
Business Plan Training Program

## Slide 2: Introduction
All facilities subject to the Hazardous Materials Business Plan (HMBP) Program must have a training program and a written employee training plan for hazardous materials safety and emergency response. Initial training is required for new employees within 30 days from date of hire followed by annual refresher training. Training to include:
Procedures for safe handling of hazardous materials/waste
Use of emergency response equipment and materials
Emergency response procedures

## Slide 3: Procedures for safe handling of hazardous materials/waste
The control of the exposure, release, and spread of hazardous materials and waste is accomplished by the integration of mitigation strategies, including:
Engineering
Controls
Administrative Controls
Personal Protective Equipment

## Slide 4: Engineering Controls
Engineering controls are based on the following broad principles:
Design work areas or process to remove hazard and/or substitute something that is not/less hazardous.
If removal is not feasible, enclose hazard to prevent exposure in normal operations.
Where complete enclosure is not feasible, establish barriers or local ventilation to reduce exposure in normal operations
These controls focus on the source of the hazard, unlike other types of controls that generally focus on the employee exposed to the hazard. Engineering controls should be the first application of safety measures used when evaluating hazard mitigation.

## Slide 5: Administrative Controls
Administrative controls are policies and procedures designed to reduce employee and student exposure to hazardous chemicals. The use of standard operating procedures (SOP’s), general laboratory guidelines, housekeeping, and chemical handling procedures are administrative controls used by San Diego Mesa College.
Administrative controls should be the second application of safety measures used when evaluating hazard mitigation and are used in conjunction with engineering controls.

## Slide 6: Mesa College Standard Operating Procedures (SOPs)
The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling. Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP.
General Chemical Safety Guidelines
Housekeeping
Chemical Handling
Chemical Storage
Transporting Chemicals and Chemical Waste
Compressed Gas Cylinders
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 7: General Chemical Safety Guidelines
Personnel should not work with or transfer flammable or toxic hazardous materials alone.
Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 8: Housekeeping
All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
Areas shall be kept clean and neat.
Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
Materials used for cleaning spills shall be disposed of as hazardous waste.
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 9: Chemical Handling
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 10: Chemical Inventory
The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
  Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory. If there are any questions or concerns about the format or process, contact the campus OEHS Coordinator.
Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 11: Receiving Chemicals
No “outside” donations of chemicals, either new or partially consumed can be excepted
All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
As applicable, expiration dates shall be written on the container label.
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 12: Chemical Labeling
Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements. Every original container label must include:
Product Identifier
Signal Word
Hazard Statement(s)
Pictogram(s)
Precautionary Statement(s)
Name, address, and telephone number of the manufacturer or importer
Label must be legible, permanently displayed, and written in English
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 13: Chemical Labeling
Secondary Containers: Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
  Secondary containers must be of similar material and quality to the original.
  Secondary containers must be labeled with
    The name of the chemical or common name, in English.
    The concentration of the chemical shall also be noted, if appropriate.
    Pictogram(s) and/or other applicable hazard warnings.
    Date chemical was transferred into container.
Notes: Mesa’s standard operating procedures (SOP’s):
  The Mesa College Chemical Hygiene Plan (CHP), combined with training, will act as the Standard Operating Procedures for those processes that involve chemical movement, storage, and chemical/waste handling.
  Individual Departments may write supplemental Standard Operating Procedures to delineate site-specific program compliance for their unique programs and hazards, but they must be at least as stringent with the contents of the CHP
General Chemical Safety Guidelines:
  Personnel should not work with or transfer flammable or toxic hazardous materials alone.
  Employees should wash hands with soap and water prior to leaving the area where hazardous materials are used.
  All work with volatile chemicals shall be conducted in the fume hoods or other well-ventilated areas.
  Areas where hazardous materials or waste are stored shall be secured from unauthorized access.
Housekeeping:
  All doorways, walkways and staircases are to remain clear and free from obstructions, chemicals, or hazardous waste.
  The area around eyewashes and safety showers shall always remain clear of obstructions to a distance of at least twenty-four (24) inches.
  Areas shall be kept clean and neat.
  Small drips or spills of chemicals shall be wiped up immediately using appropriate PPE and proper materials for the chemical.
  Materials used for cleaning spills shall be disposed of as hazardous waste.
Chemical Handling:
Chemical handling is the application of best practices to minimize the risk in using, moving, or transferring chemicals. The basis of safe chemical handling is being aware of what chemicals are present in the workplace and their associated hazards.
  Chemical Inventory
    The Hazardous Communication Standard requires a current chemical inventory in areas that use or store hazardous materials. Each department will update its Chemical inventory, have a hard copy available in the area the chemicals are stored, and submit a copy to the OEHS Coordinator no later than January 31 of each calendar year.
      Mesa College’s chemical inventory format has been standardized and each department must use the standardized format when creating a chemical inventory.
    Every hazardous chemical that is used on the Mesa campus must have a corresponding SDS.
  Receiving Chemicals
    No “outside” donations of chemicals, either new or partially consumed can be excepted
    All chemicals shall have the date received, person receiving, and the date they were opened written on the label.
    As applicable, expiration dates shall be written on the container label.
  Chemical Labeling
    Chemicals should be kept and stored in the container supplied by the manufacturer. In the event a chemical must be repackaged due to damage, the new container shall be compatible with the material and the label shall include all of the required elements.
    Every original container label must contain the following:
      Product identifier
      Signal word
      Hazard statement(s)
      Pictogram(s)
      Precautionary statement(s)
      Name, address, and telephone number of the manufacturer or importer.
      Label must be legible, permanently displayed, and written in English.
      Secondary Containers
Secondary containers are containers used to supply smaller amounts of chemicals from bulk containers to more than one location, such as instructional laboratories or custodial closets.
        Secondary containers must be of similar material and quality to the original.
        Secondary containers must be labeled with
          The name of the chemical or common name, in English.
          The concentration of the chemical shall also be noted, if appropriate.
          Pictogram(s) and/or other applicable hazard warnings.
          Date chemical was transferred into container.
Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
  Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
  Chemicals shall not be stored at elevations more than six (6) feet from the floor.
  Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
    Cabinets specially designed for hazardous chemicals do not require lips.
  Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Transporting Chemicals and Chemical Waste
  Chemical and waste containers shall be securely capped prior to transport.
  A secondary means of containing chemicals and waste should be used when transporting, such as a poly bucket or tub.
  Containers carrying more than 4 liters/1 gallon are to be transported, a cart, dolly, or other means should be used.
  Hazardous chemicals and waste should not be moved via stairwells.
  Hazardous chemicals and waste shall be moved between floors by way of elevators.
    Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
    The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
  Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Compressed Gas Cylinders
  Storage
    Areas containing compressed gas cylinders, with the exception of lecture-size bottles, shall be marked “Compressed Gas”
    When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place
    Cylinders shall not be stored under stairs or near emergency exits.
    Cylinders shall be stored upright at all times.
    If not stored in an engineered and secured rack, compressed gas cylinders shall be secured to a fixed object by no fewer than two restraints.
    Storage areas for cylinders shall be secured to prevent access by unauthorized individuals.
    Cylinders stored in exterior locations shall be protected from damage by vehicles using guard posts or other permanent means.
    Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
    Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
  Moving
    When moving cylinders:
      use cylinder carts and shall
      secure while moving
      do not roll on their edges.
      Must be capped
      Remove regulators
  Labeling
    Cylinder shall be clearly labeled as to its contents.
    Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
  Cylinder failure
    If a cylinder or valve assembly begins to leak or the valve cannot be closed:
      For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
      For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.

## Slide 14: Chemical Storage
All storage locations for hazardous materials or hazardous wastes shall be labeled with warning signs in accordance with NFPA 704 on each door or entrance.
Chemicals shall be stored in the appropriate storage location, separated and segregated from incompatible chemicals.
Chemicals shall not be stored at elevations more than six (6) feet from the floor.
Shelves holding chemicals shall have lips or other integral restraining devices to prevent chemicals from sliding off (24 CCR, Part 9, 5003.9.9).
Cabinets specially designed for hazardous chemicals do not require lips.
Chemical storage cabinets or refrigerator/freezer must have the appropriate labeling such as: Flammable, Corrosive, Acid, Base, Poison, Compressed Gas, or any other appropriate identifier
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 15: Transporting Chemicals and Chemical Waste
Chemical and waste containers shall be securely capped prior to transport.
A secondary container, such as a poly bucket or tub, must be used when transporting chemicals.
Containers carrying more than 4 liters/1 gallon are to be transported by a cart, dolly, or other means.
Hazardous chemicals and waste should not be moved via stairwells.
Hazardous chemicals and waste shall be moved between floors by way of elevators.
  Hazardous chemicals and waste that are moved via elevator shall have a means of secondary containment.
  The maximum size container allowed to be moved in an elevator is twenty (20) liters (5.28 gallons) (24 CCR, Part 9, 5003.10.4.2).
Incompatible chemicals shall not be transported on the same cart or truck (24CCR, Part 9, 5003.10.3.6.).
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 16: Compressed Gas Cylinders - Storage
Areas containing compressed gas shall be marked “Compressed Gas” and be secured to prevent access by unauthorized individuals.
When not in use, including when empty, cylinder valves shall be fully closed with protective caps securely in place.
Cylinders shall not be stored under stairs or near emergency exits.
Cylinders shall be stored upright in secured racks, or secured to a fixed object by no fewer than two restraints.
Cylinders shall not be stored in direct sunlight or near other sources of heating to prevent over-pressure hazards.
Empty cylinders shall be clearly marked “Empty” and stored separately from full or in-use cylinders.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 17: Compressed Gas Cylinders -Moving and Labeling
When moving cylinders:
Use cylinder carts and secure while moving.
Do not roll on their edges.
Must be capped.
Remove regulators.
Labeling:
Cylinder shall be clearly labeled as to its contents.
Cylinders shall be labeled “Full,” “In Use,” or “Empty” as appropriate.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 18: Compressed Gas Cylinders - Cylinder Failure
If a cylinder or valve assembly begins to leak or the valve cannot be closed:
For non-toxic, non-flammable, and non-corrosive gases, the cylinder shall be moved to an exterior location away from buildings or pedestrian walkways and allowed to vent. If the gas could be an asphyxiate, leave where it is at and evacuate immediate surroundings and push the red button to contact emergency dispatch or call campus police dispatch
For toxic, flammable, and corrosive gases, the incident shall be treated as an uncontrolled release- details for response can be found in the CHP under “Emergency Response Procedures,” or refer to the EAP Guide.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 19: Personal Protective Equipment (PPE)
General Guidelines & Minimum Standards
Gloves
Laboratory Coats
When exposure to hazards cannot be engineered completely out of normal operations or maintenance work, and when safe work practices and administrative controls cannot provide sufficient additional protection from exposure, personal protective equipment may be required. PPE is the last line of defense against chemical hazards since any failure in the measure will likely result in an exposure. Please work with your supervisor to ensure proper PPE including:
Shoes
Eye Protection
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 20: PPE – General Guidelines and Minimum Standards
Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 21: PPE – Gloves
Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
Each Department is responsible for providing employees with gloves.
Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 22: PPE – Laboratory Coats
Laboratory coats shall be at least knee length.
Lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
Laboratory coats shall be inspected prior to each use for defects. Damaged or defective laboratory coats shall not be worn.
When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
Laboratory coats shall be laundered on a regular basis.
Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 23: PPE – Shoes & Eye Protection
All employees, students, and visitors shall wear close-toed and close-heeled shoes that cover their entire foot whenever they are handling or transferring chemicals or waste.
  Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 24: PPE – Eye Protection
All goggles shall be ANSI Z87.1 certified and be clear, not tinted.
Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
  An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
  Working with solid materials (and not making solutions)
  Conducting flame tests.
  Using impregnated chemicals.
  Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
  Doing animal dissections.
Notes: Personal Protective Equipment (PPE)
The following are San Diego Mesa College’s guidelines for personal protective equipment while handling chemicals pursuant to California Code of Regulations, Title 8, Section 3380. Other PPE, which is not mentioned below, may be available if a work situation requires it. Please work with your supervisor to obtain any needed items.
General Guidelines and Minimum Standards
  Shorts, pants that expose any skin, and skirts or dresses that come above the ankle may not be worn in laboratory areas were chemicals are present. The area of skin between the pants and the shoe should not be exposed.
  Tank tops, sleeveless shirts, or shirts that expose the chest shall not be worn when working with chemicals unless covered by a laboratory coat or other protective apparel.
Gloves
  Gloves are required to be worn by any employee who opens, handles, transfers, pours, or otherwise uses hazardous chemicals of any amount, including toxic, corrosive, and refrigerant gases.
  Each Department is responsible for providing employees with gloves.
  Gloves should be inspected for defects prior to donning, if a defect is found, the glove is to be discarded and replaced.
Laboratory coats
  Laboratory coats shall be at least knee length.
  While working in a laboratory, lab coats shall be worn by employees whenever they are working with hazardous chemicals or hazardous waste.
    The use of smocks in lieu of laboratory coats may be appropriate in some Departments.
  Laboratory coats shall be inspected prior to each use for defects.
    Damaged or defective laboratory coats shall not be worn near chemicals and will need to be replaced or repaired immediately.
  When working with chemicals, laboratory coats shall be worn with the sleeves long enough to protect exposed skin and under clothing. Lab coats should be properly buttoned.
  Laboratory coats shall not be worn outside the laboratory or areas where chemicals are not present unless chemicals are being transported.
  Laboratory coats shall be laundered on a regular basis.
  Chemical resistant aprons should be worn over laboratory coats for specific tasks that have a high probability for splashing.
Shoes
  All employees, students, and visitors shall wear close-toed and close-heeled shoes whenever they are handling or transferring chemicals or waste.
    Flip flops, clogs, or other sandal-type shoes shall not be worn when working with chemicals.
  Shoes shall cover the entire foot.
Eye Protection
  Chemical safety splash-resistant goggles shall be worn at all times by faculty, employees, and students when hazardous chemicals are being used or when handling hazardous waste and there is a possible risk of a chemical splash.
  Safety glasses can be worn by employees in lieu of splash goggles when no splash hazards exist (However, splash goggles are highly recommended as they will provide greater protection from chemical exposure). For example:
    An individual is walking through a chemical use area, but is not using or directly standing next to someone using hazardous chemicals.
    Working with solid materials (and not making solutions)
    Conducting flame tests.
    Using impregnated chemicals.
    Using small dropping bottles (30ml or less) and dispensing the chemical with a dropper.
    Doing animal dissections.
  All goggles shall be ANSI Z87.1 certified and be clear, not tinted.

## Slide 25: Hazardous Chemical Waste
Chemical Waste
Special Waste Classes
Chemical Waste Containers
Chemical Waste Storage Facilities
Hazardous Waste Profiles
Hazardous Waste Manifest
San Diego Mesa College generates both liquid and solid hazardous waste. The waste must be removed from the site before the 90th day from the listed start date on the individual container. The waste is then transported by a hazardous waste contractor for treatment or disposal at an appropriately licensed facility. This will require knowledge of:
Notes: Hazardous Chemical Waste
San Diego Mesa College generates both liquid and solid hazardous waste. The waste must be removed from the site before the 90th day from the listed start date on the individual container. The waste is then transported by a hazardous waste contractor for treatment or disposal at an appropriately licensed facility.
Chemical Waste
  The waste in the storage area shall be segregated and separated by hazard class and placed into containers that are no larger than 5 Gallons.
    Waste shall be separated into at least the following hazard classes in separate containers:
      Ignitable (22 CCR 66261.21)
      Corrosive (22 CCR 66261.22)
      Reactive (22 CCR 66261.23)
      Toxic (22 CCR 66261.24)
      Other waste categories may be designated by the Departments as appropriate.
  Separate containers shall be used for solid waste, each liquid waste category, and containerized waste for each hazard class (22 CCR 66262).
  Waste of similar hazard classification may be consolidated into larger containers.
    ‘Consolidation’ refers to the practice of emptying smaller containers into a larger container to combine liquid or solid wastes into a single container..
  Only compatible wastes can be placed in the same container.
  Waste from different Departments shall not be consolidated.
Special Waste Classes
There are specific classes or types of hazardous waste that have additional labeling, packaging, handling, or storage requirements. See Appendix A in the CHP for additional details
  Liquid paint.
  Dry paint
  Used oil
  Used oil filters
  Empty chemical or hazardous waste containers
  Aerosol cans
  Pesticides
Chemical Waste Containers
The following requirements apply to all waste containers.
  Containers shall be compatible with the material they are designated to contain (22 CCR 66265.172).
    Containers that are to be disposed of with the waste (‘lab packed’) must be (49 CFR 173.12(b)(2)(i)):
      One (1) gallon or smaller for glass containers
      Less than 5.3 gallons for plastic (20 L)
      Have secure, tight-fitting lids, preferably threaded, that do not react or degrade with the waste class within.
  Containers shall prevent the leakage of liquid, solid materials, or vapors.
  All containers shall have appropriate lids that close securely.
    Lids are to remain in place unless waste is actively being added or removed from the container.
  Funnels can be used to facilitate adding waste to the containers.
    Funnels shall either have self-closing lids or be removed when waste is not being added. Container must be closed when funnel is removed.
  Containers shall be clearly, visibly, and legibly labeled “Hazardous Waste.”
    Labels shall be durably affixed to the container.
    The following information shall be clearly and legibly entered on the label in blue or black ink:
      List of chemical(s) being placed in container.
      EPA ID number
        San Diego Mesa College HAS only one (1) unique EPA identification number, obtained by the State, to be used for tracking all generated waste.
      Street address of Mesa College: 7250 Mesa College Dr. San Diego CA. 92111
      Contact phone number: This phone number should be from the area/Department generating the waste.
      Hazard class of waste.
      Physical form of waste
      Date the first waste was placed into the container
  Unused portions of chemicals can be disposed of in their original containers as long as the container is properly labeled as hazardous waste.
Chemical Waste Storage Facilities (8 CCR 5534, 22 CCR 66261, 22 CCR 66262, 40 CFR 262.34)
  Point of Generation Accumulation Areas
    Accumulation areas shall
      Be locked to prevent unauthorized access.
      Be labeled on the exterior as containing hazardous waste.
      Be marked with an NFPA 704 hazard warning label.
      Have adequate ventilation
      Have adequate and appropriate storage for hazardous waste containers.
      Have containers placed in or on a means of secondary containment in the event of spills or leaks.
    Waste of similar hazard classification may be consolidated only if the exact composition is known and compatibility has been assessed by a competent person.
      In this instance, a competent person is a person with knowledge of the chemical and physical properties of all substances to be combined as well as any potential reactions
      Chemicals with the following properties will not be consolidated or combined with any other chemicals:
        Pyrophoric
        Water reactive
        Organic peroxides
        Self-reactive
        Flammable solids.
      The accumulation start date is the date the waste was originally placed into its first container, not when it was consolidated.
      Consolidation is only allowed in areas that are properly ventilated or in chemical fume hoods.
    Wastes shall not be treated, neutralized, or intentionally mixed in an attempt to render the waste less- or non-hazardous.
    Waste containers shall be removed from the classrooms when the containers are approximately ¾ full.
    Instructional laboratories that contain waste shall be locked or otherwise have access restricted when class is not in session; otherwise, the waste containers shall be removed.
Hazardous Waste Profiles
Hazardous waste profiles are records that delineate the content and associated hazard characteristics of a particular waste stream.
  Each Department, that generates hazardous waste, can create and will maintain their departments waste profiles with the contracted hauler.
  Hazardous waste profiles must accurately reflect the waste in any particular container.
  Profiles may be reviewed by the hazardous waste contractor.
  Profiles must be updated annually or whenever there is a change before the waste can be removed from the College.
Hazardous Waste Manifest
A manifest is a tracking document that is used to identify the owner of hazardous wastes throughout thegeneration, transportation and disposal process (49 CFR 172.204).
  For Mesa College the Hazardous Waste Manifest is filled out by the waste hauler Clean Harbors.
    The Manifest should be signed by a San Diego Mesa College representative, preferably the appointed department hazardous waste lead, or by the OEHS Coordinator or the Campus Chemical Hygiene Officer
      The campus representative must receive US Department of Transportation or Title 22 training before they can sign a manifest (49 CFR 172.704).
        Refresher training must be completed every three (3) years.
    The campus representative will receive a copy of the manifest by the hauler.
      A copy of this manifest must be sent, by the appointed department hazardous waste lead, within thirty (30) days of shipment to:
        Department of Toxic Substances Control, P.O. Box 400, Sacramento, CA 95812-0400.
      An additional copy must be forwarded to the Campus OEHS Coordinator.
    A final copy will be sent or available to San Diego Mesa College upon receipt at the final waste handling destination.
    The manifests signed by the TSDF must be kept for three (3) years.
      The Campus OEHS Coordinator or their designee is responsible for retaining all copies of the final manifests.

## Slide 26: Hazardous Chemical Waste
Waste shall be separated into at least the following hazard classes in separate containers:
  Ignitable (22 CCR 66261.21)
  Corrosive (22 CCR 66261.22)
  Reactive (22 CCR 66261.23)
  Toxic (22 CCR 66261.24)
  Other waste categories may be designated by the Departments as appropriate.
The waste in the storage area shall be segregated and separated by hazard class and placed into containers that are no larger than 5 Gallons.
Notes: Hazardous Chemical Waste
San Diego Mesa College generates both liquid and solid hazardous waste. The waste must be removed from the site before the 90th day from the listed start date on the individual container. The waste is then transported by a hazardous waste contractor for treatment or disposal at an appropriately licensed facility.
Chemical Waste
  The waste in the storage area shall be segregated and separated by hazard class and placed into containers that are no larger than 5 Gallons.
    Waste shall be separated into at least the following hazard classes in separate containers:
      Ignitable (22 CCR 66261.21)
      Corrosive (22 CCR 66261.22)
      Reactive (22 CCR 66261.23)
      Toxic (22 CCR 66261.24)
      Other waste categories may be designated by the Departments as appropriate.
  Separate containers shall be used for solid waste, each liquid waste category, and containerized waste for each hazard class (22 CCR 66262).
  Waste of similar hazard classification may be consolidated into larger containers.
    ‘Consolidation’ refers to the practice of emptying smaller containers into a larger container to combine liquid or solid wastes into a single container..
  Only compatible wastes can be placed in the same container.
  Waste from different Departments shall not be consolidated.
Special Waste Classes
There are specific classes or types of hazardous waste that have additional labeling, packaging, handling, or storage requirements. See Appendix A in the CHP for additional details
  Liquid paint.
  Dry paint
  Used oil
  Used oil filters
  Empty chemical or hazardous waste containers
  Aerosol cans
  Pesticides
Chemical Waste Containers
The following requirements apply to all waste containers.
  Containers shall be compatible with the material they are designated to contain (22 CCR 66265.172).
    Containers that are to be disposed of with the waste (‘lab packed’) must be (49 CFR 173.12(b)(2)(i)):
      One (1) gallon or smaller for glass containers
      Less than 5.3 gallons for plastic (20 L)
      Have secure, tight-fitting lids, preferably threaded, that do not react or degrade with the waste class within.
  Containers shall prevent the leakage of liquid, solid materials, or vapors.
  All containers shall have appropriate lids that close securely.
    Lids are to remain in place unless waste is actively being added or removed from the container.
  Funnels can be used to facilitate adding waste to the containers.
    Funnels shall either have self-closing lids or be removed when waste is not being added. Container must be closed when funnel is removed.
  Containers shall be clearly, visibly, and legibly labeled “Hazardous Waste.”
    Labels shall be durably affixed to the container.
    The following information shall be clearly and legibly entered on the label in blue or black ink:
      List of chemical(s) being placed in container.
      EPA ID number
        San Diego Mesa College HAS only one (1) unique EPA identification number, obtained by the State, to be used for tracking all generated waste.
      Street address of Mesa College: 7250 Mesa College Dr. San Diego CA. 92111
      Contact phone number: This phone number should be from the area/Department generating the waste.
      Hazard class of waste.
      Physical form of waste
      Date the first waste was placed into the container
  Unused portions of chemicals can be disposed of in their original containers as long as the container is properly labeled as hazardous waste.
Chemical Waste Storage Facilities (8 CCR 5534, 22 CCR 66261, 22 CCR 66262, 40 CFR 262.34)
  Point of Generation Accumulation Areas
    Accumulation areas shall
      Be locked to prevent unauthorized access.
      Be labeled on the exterior as containing hazardous waste.
      Be marked with an NFPA 704 hazard warning label.
      Have adequate ventilation
      Have adequate and appropriate storage for hazardous waste containers.
      Have containers placed in or on a means of secondary containment in the event of spills or leaks.
    Waste of similar hazard classification may be consolidated only if the exact composition is known and compatibility has been assessed by a competent person.
      In this instance, a competent person is a person with knowledge of the chemical and physical properties of all substances to be combined as well as any potential reactions
      Chemicals with the following properties will not be consolidated or combined with any other chemicals:
        Pyrophoric
        Water reactive
        Organic peroxides
        Self-reactive
        Flammable solids.
      The accumulation start date is the date the waste was originally placed into its first container, not when it was consolidated.
      Consolidation is only allowed in areas that are properly ventilated or in chemical fume hoods.
    Wastes shall not be treated, neutralized, or intentionally mixed in an attempt to render the waste less- or non-hazardous.
    Waste containers shall be removed from the classrooms when the containers are approximately ¾ full.
    Instructional laboratories that contain waste shall be locked or otherwise have access restricted when class is not in session; otherwise, the waste containers shall be removed.
Hazardous Waste Profiles
Hazardous waste profiles are records that delineate the content and associated hazard characteristics of a particular waste stream.
  Each Department, that generates hazardous waste, can create and will maintain their departments waste profiles with the contracted hauler.
  Hazardous waste profiles must accurately reflect the waste in any particular container.
  Profiles may be reviewed by the hazardous waste contractor.
  Profiles must be updated annually or whenever there is a change before the waste can be removed from the College.
Hazardous Waste Manifest
A manifest is a tracking document that is used to identify the owner of hazardous wastes throughout thegeneration, transportation and disposal process (49 CFR 172.204).
  For Mesa College the Hazardous Waste Manifest is filled out by the waste hauler Clean Harbors.
    The Manifest should be signed by a San Diego Mesa College representative, preferably the appointed department hazardous waste lead, or by the OEHS Coordinator or the Campus Chemical Hygiene Officer
      The campus representative must receive US Department of Transportation or Title 22 training before they can sign a manifest (49 CFR 172.704).
        Refresher training must be completed every three (3) years.
    The campus representative will receive a copy of the manifest by the hauler.
      A copy of this manifest must be sent, by the appointed department hazardous waste lead, within thirty (30) days of shipment to:
        Department of Toxic Substances Control, P.O. Box 400, Sacramento, CA 95812-0400.
      An additional copy must be forwarded to the Campus OEHS Coordinator.
    A final copy will be sent or available to San Diego Mesa College upon receipt at the final waste handling destination.
    The manifests signed by the TSDF must be kept for three (3) years.
      The Campus OEHS Coordinator or their designee is responsible for retaining all copies of the final manifests.

## Slide 27: Hazardous Chemical Waste
Separate containers shall be used for solid waste, each liquid waste category, and containerized waste for each hazard class (22 CCR 66262).
Waste of similar hazard classification may be consolidated into larger containers.
  ‘Consolidation’ refers to the practice of emptying smaller containers into a larger container to combine liquid or solid wastes into a single container..
Only compatible wastes can be placed in the same container.
Waste from different departments shall not be consolidated.
Notes: Hazardous Chemical Waste
San Diego Mesa College generates both liquid and solid hazardous waste. The waste must be removed from the site before the 90th day from the listed start date on the individual container. The waste is then transported by a hazardous waste contractor for treatment or disposal at an appropriately licensed facility.
Chemical Waste
  The waste in the storage area shall be segregated and separated by hazard class and placed into containers that are no larger than 5 Gallons.
    Waste shall be separated into at least the following hazard classes in separate containers:
      Ignitable (22 CCR 66261.21)
      Corrosive (22 CCR 66261.22)
      Reactive (22 CCR 66261.23)
      Toxic (22 CCR 66261.24)
      Other waste categories may be designated by the Departments as appropriate.
  Separate containers shall be used for solid waste, each liquid waste category, and containerized waste for each hazard class (22 CCR 66262).
  Waste of similar hazard classification may be consolidated into larger containers.
    ‘Consolidation’ refers to the practice of emptying smaller containers into a larger container to combine liquid or solid wastes into a single container..
  Only compatible wastes can be placed in the same container.
  Waste from different Departments shall not be consolidated.
Special Waste Classes
There are specific classes or types of hazardous waste that have additional labeling, packaging, handling, or storage requirements. See Appendix A in the CHP for additional details
  Liquid paint.
  Dry paint
  Used oil
  Used oil filters
  Empty chemical or hazardous waste containers
  Aerosol cans
  Pesticides
Chemical Waste Containers
The following requirements apply to all waste containers.
  Containers shall be compatible with the material they are designated to contain (22 CCR 66265.172).
    Containers that are to be disposed of with the waste (‘lab packed’) must be (49 CFR 173.12(b)(2)(i)):
      One (1) gallon or smaller for glass containers
      Less than 5.3 gallons for plastic (20 L)
      Have secure, tight-fitting lids, preferably threaded, that do not react or degrade with the waste class within.
  Containers shall prevent the leakage of liquid, solid materials, or vapors.
  All containers shall have appropriate lids that close securely.
    Lids are to remain in place unless waste is actively being added or removed from the container.
  Funnels can be used to facilitate adding waste to the containers.
    Funnels shall either have self-closing lids or be removed when waste is not being added. Container must be closed when funnel is removed.
  Containers shall be clearly, visibly, and legibly labeled “Hazardous Waste.”
    Labels shall be durably affixed to the container.
    The following information shall be clearly and legibly entered on the label in blue or black ink:
      List of chemical(s) being placed in container.
      EPA ID number
        San Diego Mesa College HAS only one (1) unique EPA identification number, obtained by the State, to be used for tracking all generated waste.
      Street address of Mesa College: 7250 Mesa College Dr. San Diego CA. 92111
      Contact phone number: This phone number should be from the area/Department generating the waste.
      Hazard class of waste.
      Physical form of waste
      Date the first waste was placed into the container
  Unused portions of chemicals can be disposed of in their original containers as long as the container is properly labeled as hazardous waste.
Chemical Waste Storage Facilities (8 CCR 5534, 22 CCR 66261, 22 CCR 66262, 40 CFR 262.34)
  Point of Generation Accumulation Areas
    Accumulation areas shall
      Be locked to prevent unauthorized access.
      Be labeled on the exterior as containing hazardous waste.
      Be marked with an NFPA 704 hazard warning label.
      Have adequate ventilation
      Have adequate and appropriate storage for hazardous waste containers.
      Have containers placed in or on a means of secondary containment in the event of spills or leaks.
    Waste of similar hazard classification may be consolidated only if the exact composition is known and compatibility has been assessed by a competent person.
      In this instance, a competent person is a person with knowledge of the chemical and physical properties of all substances to be combined as well as any potential reactions
      Chemicals with the following properties will not be consolidated or combined with any other chemicals:
        Pyrophoric
        Water reactive
        Organic peroxides
        Self-reactive
        Flammable solids.
      The accumulation start date is the date the waste was originally placed into its first container, not when it was consolidated.
      Consolidation is only allowed in areas that are properly ventilated or in chemical fume hoods.
    Wastes shall not be treated, neutralized, or intentionally mixed in an attempt to render the waste less- or non-hazardous.
    Waste containers shall be removed from the classrooms when the containers are approximately ¾ full.
    Instructional laboratories that contain waste shall be locked or otherwise have access restricted when class is not in session; otherwise, the waste containers shall be removed.
Hazardous Waste Profiles
Hazardous waste profiles are records that delineate the content and associated hazard characteristics of a particular waste stream.
  Each Department, that generates hazardous waste, can create and will maintain their departments waste profiles with the contracted hauler.
  Hazardous waste profiles must accurately reflect the waste in any particular container.
  Profiles may be reviewed by the hazardous waste contractor.
  Profiles must be updated annually or whenever there is a change before the waste can be removed from the College.
Hazardous Waste Manifest
A manifest is a tracking document that is used to identify the owner of hazardous wastes throughout thegeneration, transportation and disposal process (49 CFR 172.204).
  For Mesa College the Hazardous Waste Manifest is filled out by the waste hauler Clean Harbors.
    The Manifest should be signed by a San Diego Mesa College representative, preferably the appointed department hazardous waste lead, or by the OEHS Coordinator or the Campus Chemical Hygiene Officer
      The campus representative must receive US Department of Transportation or Title 22 training before they can sign a manifest (49 CFR 172.704).
        Refresher training must be completed every three (3) years.
    The campus representative will receive a copy of the manifest by the hauler.
      A copy of this manifest must be sent, by the appointed department hazardous waste lead, within thirty (30) days of shipment to:
        Department of Toxic Substances Control, P.O. Box 400, Sacramento, CA 95812-0400.
      An additional copy must be forwarded to the Campus OEHS Coordinator.
    A final copy will be sent or available to San Diego Mesa College upon receipt at the final waste handling destination.
    The manifests signed by the TSDF must be kept for three (3) years.
      The Campus OEHS Coordinator or their designee is responsible for retaining all copies of the final manifests.

## Slide 28: Special Waste Classes
Liquid paint.
Dry paint
Used oil
Used oil filters
Empty chemical or hazardous waste containers
Aerosol cans
Pesticides
There are specific classes or types of hazardous waste that have additional labeling, packaging, handling, or storage requirements. See Appendix A in the CHP for additional details
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 29: Chemical Waste Containers
Containers shall be compatible with the material they are designated to contain (22 CCR 66265.172).
  Containers that are to be disposed of with the waste (‘lab packed’) must be (49 CFR 173.12(b)(2)(i)):
    One (1) gallon or smaller for glass containers
    Less than 5.3 gallons for plastic (20 L)
    Have secure, tight-fitting lids, preferably threaded, that do not react or degrade with the waste class within.
Containers shall prevent the leakage of liquid, solid materials, or vapors.
The following requirements apply to all waste containers:
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 30: Chemical Waste Containers
All containers shall have appropriate lids that close securely.
  Lids are to remain in place unless waste is actively being added or removed from the container.
Funnels can be used to facilitate adding waste to the containers.
  Funnels shall either have self-closing lids or be removed when waste is not being added. Container must be closed when funnel is removed.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 31: Chemical Waste Containers: Labeling
Containers shall be clearly, visibly, and legibly labeled “Hazardous Waste.” Unused portions of chemicals can be disposed of in their original containers as long as the container is properly labeled as hazardous waste.
Labels shall be durably affixed to the container.
The following information shall be clearly and legibly entered on the label in blue/black ink:
  List of chemical(s) being placed in container.
  EPA ID number
    San Diego Mesa College HAS only one (1) unique EPA identification number, obtained by the State, to be used for tracking all generated waste.
  Street address of Mesa College: 7250 Mesa College Dr., San Diego, CA. 92111
  Contact phone number from the area/Department generating the waste.
  Hazard class of waste.
  Physical form of waste
  Date the first waste was placed into the container
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 32: Chemical Waste Storage Facilities (8 CCR 5534, 22 CCR 66261, 22 CCR 66262, 40 CFR 262.34)
Point of Generation Accumulation Areas
Accumulation areas shall:
Be locked to prevent unauthorized access.
Be labeled on the exterior as containing hazardous waste.
Be marked with an NFPA 704 hazard warning label.
Have adequate ventilation
Have adequate and appropriate storage for hazardous waste containers.
Have containers placed in or on a means of secondary containment in the event of spills or leaks.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 33: Chemical Waste Storage Facilities (8 CCR 5534, 22 CCR 66261, 22 CCR 66262, 40 CFR 262.34)
Waste of similar hazard classification may be consolidated only if the exact composition is known and compatibility has been assessed by a competent person.
In this instance, a competent person is a person with knowledge of the chemical and physical properties of all substances to be combined as well as any potential reactions
Chemicals with the following properties will not be consolidated or combined with any other chemicals:
Pyrophoric
Water reactive
Organic peroxides
Self-reactive
Flammable solids.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 34: Chemical Waste Storage Facilities (8 CCR 5534, 22 CCR 66261, 22 CCR 66262, 40 CFR 262.34)
Wastes shall not be treated, neutralized, or intentionally mixed in an attempt to render the waste less- or non-hazardous.
Waste containers shall be removed from the classrooms when the containers are approximately ¾ full.
Instructional laboratories that contain waste shall be locked or otherwise have access restricted when class is not in session; otherwise, the waste containers shall be removed.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 35: Hazardous Waste Profiles
Hazardous waste profiles are records that delineate the content and associated hazard characteristics of a particular waste stream.
Each Department, that generates hazardous waste, can create and will maintain their departments waste profiles with the contracted hauler.
Hazardous waste profiles must accurately reflect the waste in any particular container.
Profiles may be reviewed by the hazardous waste contractor.
Profiles must be updated annually or whenever there is a change before the waste can be removed from the College.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 36: Hazardous Waste Manifest
A manifest is a tracking document that is used to identify the owner of hazardous wastes throughout the generation, transportation and disposal process (49 CFR 172.204).
For Mesa College the Hazardous Waste Manifest is filled out by the waste hauler Clean Harbors.
The Manifest should be signed by a San Diego Mesa College representative, preferably the appointed department hazardous waste lead, or by the OEHS Coordinator or the Campus Chemical Hygiene Officer
  The campus representative must receive US Department of Transportation or Title 22 training before they can sign a manifest (49 CFR 172.704).
    Refresher training must be completed every three (3) years.
The campus representative will receive a copy of the manifest by the hauler.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 37: Hazardous Waste Manifest
  A copy of this manifest must be sent, by the appointed department hazardous waste lead, within thirty (30) days of shipment to:
      Department of Toxic Substances Control, P.O. Box 400, Sacramento, CA 95812-0400.
    An additional copy must be forwarded to the Campus OEHS Coordinator.
  A final copy will be sent or available to San Diego Mesa College upon receipt at the final waste handling destination.
  The manifests signed by the TSDF must be kept for three (3) years.
    The Campus OEHS Coordinator or their designee is responsible for retaining all copies of the final manifests.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 38: Universal Waste
Batteries
Electronic Devices
Mercury-containing equipment (such as thermostats, switches, pressure gauges, thermometers, and gas flow regulators)
Light bulbs
Cathode ray tubes and tube class from older monitors/televisions
Non-empty aerosol cans
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly. The following are classes of universal waste (22 CCR 66261.9):
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 39: Universal Waste General Requirements:
San Diego Mesa College will not accept UW from households or other businesses.
Containers for UW shall:
Be constructed of materials to prevent the breakage or damage to the UW contained within.
Have lids that:
  Are appropriate for the container
  Remain in place unless waste is actively being added or removed
  Protect the contents from rainwater or other contaminating material.
Be of a different color than hazardous waste labels used at the Facility or College, clearly and legibly marked “Universal Waste” and identify the waste they contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
Be clearly and legibly marked with the accumulation start date.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 40: Universal Waste
UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date by:
  A licensed Universal Waste Hauler/Handler
  A recycling facility
  District personnel transporting UW to an appropriate recycle or disposal facility
  A hazardous waste contractor.
Records:
Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 41: Specific Universal Waste Requirements
Batteries:
Batteries must be removed from electronic devices as they are separate waste streams.
Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
Light Bulbs:
Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
To dispose of light bulbs contact the facilities department.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 42: Specific Universal Waste Requirements
Aerosol Cans:
Aerosol cans are handled as Universal Waste when:
  The can is partially full but cannot be used due to defective spray mechanisms
  The propellant has been spent, but product still remains
  The product is no longer needed.
San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
Empty aerosol cans, devoid of product and propellant, can be recycled.
Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 43: Specific Universal Waste Requirements
Aerosol Cans (Continued):
Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
If not covered after cans are added, the lid must be secured at the end of each workday.
The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 44: Specific Universal Waste Requirements
Electronic Devices:
Electronic devices to be disposed of do not need to be placed in a container.
  Waste devices can be disposed of by contacting the stockroom.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 45: Use of Emergency Response Equipment and Materials
Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162)
Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
First Aid Kits
(8 CCR 3400)
Spill Response Kits
Chemical Spill Cleanup Emergency Response Procedures
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 46: Use of Emergency Response Equipment and Materials
Eyewashes & Safety Showers (ANSI 2358.1.2014.8 CCR 5162):
Emergency eyewashes and safety showers are required in areas where employees routinely use hazardous chemicals.
Eyewashes and safety showers shall be clearly identified with signage visible from twenty (20) feet away and be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
  The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
Eyewashes must have protective caps over the spouts to prevent contamination.
  The caps must remain in place except during testing and use.
Notes: Universal Waste
Universal wastes (UW) are hazardous wastes of specific categories that are exempt from hazardous waste management requirements; however, as they do pose some hazard to health and the environment, they must be disposed of properly.
The following are classes of universal waste (22 CCR 66261.9):
    Batteries
    Electronic devices
    Mercury-containing equipment such as thermostats, mercury-containing switches, pressure gauges, mercury thermometers, and gas flow regulators
    Light bulbs
    Cathode ray tubes and tube glass from older monitors or televisions
    Non-empty aerosol cans.
  General Requirements
    San Diego Mesa College will not accept UW from households or other businesses.
    Containers for UW shall:
      Be constructed of materials to prevent the breakage or damage to the UW contained within.
      Have lids that:
        Are appropriate for the container
        Remain in place unless waste is actively being added or removed
        Protect the contents from rainwater or other contaminating material.
      Be clearly and legibly marked “Universal Waste” and identify the waste they are to contain (e.g, ‘fluorescent bulbs,’ ‘batteries,’ ‘Ballasts,’ etc.).
      Have labels of a different color than hazardous waste labels used at the Facility or College.
      Be clearly and legibly marked with the accumulation start date.
    UW must be removed from San Diego Mesa College within one (1) year of the accumulation start date.
      Waste may be removed by
        A licensed Universal Waste Hauler/Handler
        A recycling facility
        District personnel transporting UW to an appropriate recycle or disposal facility
        A hazardous waste contractor.
    Records
      Records of UW may be in the form of a Manifest, a Bill of Lading, an invoice, or a receipt.
      UW records must be retained by the OEHS Coordinator or Chemical Hygiene Officer for at least three (3) years.
  Specific Universal Waste Requirements
    Batteries
      Batteries must be removed from electronic devices as they are separate waste streams.
      Alkaline batteries larger than 9 V (in terms of voltage), Nickel-Cadmium (Ni-Cd), and rechargeable batteries must have masking or other heavy-duty tape applied over the positive pole prior to placing in the container. This may be done by the waste hauler prior to removal from campus.
      Containers holding used batteries shall be clearly and legibly labeled “Batteries.”
    Light Bulbs
      Containers for used light bulbs must provide adequate protection to prevent damage to the bulbs.
      Containers holding used light bulbs shall be clearly and legibly labeled “Waste Bulbs.”
      Particularly for fluorescent bulbs, containers must be sized appropriately to ensure the lid can be affixed properly to protect the used bulbs.
      To dispose of light bulbs contact the facilities department.
    Aerosol Cans
      Aerosol cans are handled as Universal Waste when:
        The can is partially full but cannot be used due to defective spray mechanisms
        The propellant has been spent, but product still remains
        The product is no longer needed.
      San Diego Mesa College will not process (meaning; puncture, drain, or crush) aerosol cans (Health and Safety Code 25201.16(2)).
      Empty aerosol cans, devoid of product and propellant, can be recycled.
        Intentionally discharging an aerosol, piercing, or otherwise compromising the can solely for the purposes of rendering it non-hazardous is strictly forbidden.
Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.
      Containers holding used or waste aerosol cans shall be clearly and legibly labeled “Waste Aerosol Cans.”
      If not covered after cans are added, the lid must be secured at the end of each workday.
      The container must be stored in an area with adequate ventilation, away from any heat source including direct sunlight.
      To dispose of aerosol cans contact the OEHS Coordinator or the facilities department.
    Electronic Devices
      Electronic devices to be disposed of do not need to be placed in a container.
        Waste devices can be disposed of by contacting the stockroom.

## Slide 47: Use of Emergency Response Equipment and Materials
Eyewashes & Safety Showers (continued):
The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
  If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
  Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
  Records of this test (initial and date) shall be durably attached to the shower or eyewash.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 48: Use of Emergency Response Equipment and Materials
Eyewashes & Safety Showers (continued):
If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
  Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
    Safety showers must be capable of emitting twenty (20) gallons per minute.
    Records shall be kept for at least three (3) years.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 49: Use of Emergency Response Equipment and Materials
Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10):
Locations
  Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
  Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
  Extinguishers may not be stored on the floor.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 50: Use of Emergency Response Equipment and Materials
Fire Extinguishers (Continued):
Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
  The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
  The pull pin must be in place in the handle assembly.
  A tamper seal must be in place indicating the extinguisher has not been discharged.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 51: Use of Emergency Response Equipment and Materials
Fire Extinguishers (continued)
  A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
If any of the above conditions are deficient, the individual conducting the check shall immediately notify Facilities to address the extinguisher.
Fire extinguishers are serviced annually by an external contractor.
The Facilities Services Department is responsible for coordinating the annual service.
Tags are marked with the month and year of the annual service.
During annual servicing, replacement or temporary fire extinguishers must be made available.
    Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 52: Use of Emergency Response Equipment and Materials
First Aid Kits (8 CCR 3400):
A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
  A record of this inspection shall be maintained with the first aid kit.
  The kit shall be restocked as necessary or during the monthly inspection.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 53: Use of Emergency Response Equipment and Materials
Chemical Spill Cleanup and Response Procedures – Incidental Spills:
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those
Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
A guideline for Incidental spills quantity:
  would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
  less than 50 mL of highly hazardous materials.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 54: Use of Emergency Response Equipment and Materials
Incidental Spills (Continued):
The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed.
Take the following actions for proper spill cleanup:
If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 55: Use of Emergency Response Equipment and Materials
Incidental Spills (Continued):
Protective equipment must be worn (goggles, gloves, shoe covers).
Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 56: Use of Emergency Response Equipment and Materials
Emergency Response Spills:
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.) The release or situation must pose an emergency. Examples are:
It may cause high levels of exposures to toxic substances
It is life or injury threatening
It poses IDLH conditions
It poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL)
It requires immediate attention because of danger, or presents an oxygen deficient condition
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 57: Use of Emergency Response Equipment and Materials
Emergency Response Spills (Continued):
Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
A guideline for emergency spill response would be:
Liquid spills of more than two liters (2 L), depending on type of chemical
More than fifty milliliters (50 mL) of highly hazardous materials,
Uncontrolled off-gassing of chemical reactions
Leaking cylinders
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 58: Use of Emergency Response Equipment and Materials
Emergency Response Spills (Continued):
Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
Contact College Police Dispatch (619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
The Dean or supervisor shall be notified.
The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
  The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 59: Use of Emergency Response Equipment and Materials
Emergency Response Spills (Continued):
Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated.
The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.
Notes: Use of emergency response equipment and materials
  Eyewashes and Safety Showers (ANSI 2358.1.2014, 8 CCR 5162).
Emergency eyewashes and safety showers are required in areas where employees routinely use corrosive, irritant, or skin absorbing chemicals.
    Eyewashes and safety showers shall be clearly identified with signage visible from at least twenty (20) feet away.
    Eyewashes and showers must be accessible within ten (10) seconds or 50 feet of any area where hazardous chemicals or waste are used or stored.
      The use of chemicals by employees or students is forbidden in instructional laboratories or any area if nearby safety showers and eyewashes are non-functional.
    Eyewashes must have protective caps over the spouts to prevent contamination.
      The caps must remain in place except during testing and use.
    The areas around eyewashes and safety showers must be clear of objects and obstructions in a radius of at least twenty-four (24) inches from the center of the shower head.
    Eyewash and safety shower stations shall be tested monthly and flushed for at least ten (10) seconds to clear the line of any debris.
      If there are any issues notify the Dean or supervisor and the Facilities Department immediately.
      Tests may be performed by any employee; but it is the responsibility of the Department which the unit services to ensure the check is performed.
    Records of this test (initial and date) shall be durably attached to the shower or eyewash.
    If flow rates are not part of the Department’s monthly checks it must be performed annually. To perform a flow rate check you can follow the procedure below:
      Use a five-gallon container (with a mark at the three gallon level) and a curtain to channel the flow into the container. After activation, the level on the container should be reached within 9 seconds or less
        Safety showers must be capable of emitting twenty (20) gallons per minute.
        Records shall be kept for at least three (3) years.
  Fire Extinguishers (8 CCR 5543, 8 CCR 6151, NFPA 10)
    Locations
      Fire extinguishers must be located within thirty (30) feet of each instructional laboratory.
      Chemical storage locations that contain flammable liquids must have a fire extinguisher located outside of the door but within ten (10) feet of the storage location.
    At least twenty-four (24) inches of space must remain clear around each fire extinguisher.
    Fire extinguishers must be stored in cabinets or on hangars to prevent damage.
      Extinguishers may not be stored on the floor.
    Fire extinguishers shall be available for the appropriate class of fire hazards (A, B, C, or D)
    Fire extinguishers shall be checked monthly. Records of monthly inspections and annual service should be attached to the fire extinguisher.
      Inspections may be performed by any employee; but it is the responsibility of the Department where the extinguisher is installed to ensure the check is performed.
      Follow the steps below to perform the monthly inspection:
        The gauge on the extinguisher must read ‘full’ and be in the green portion of the gauge.
        The pull pin must be in place in the handle assembly.
        A tamper seal must be in place indicating the extinguisher has not been discharged.
        A tag recording the inspection must be attached to the extinguisher or the mounting assembly.
      If any of the above conditions are deficient, the individual conducting the check shall immediately notify the Facilities Services Department to address the extinguisher.
    Fire extinguishers are serviced annually by an external contractor.
      The Facilities Services Department is responsible for coordinating the annual service.
      Tags are marked with the month and year of the annual service.
      During annual servicing, replacement or temporary fire extinguishers must be made available.
        Instruction may not take place and employees may not work in any area containing flammable or combustible materials that does not have appropriately located and fully-functional fire extinguishers.
  First Aid Kits (8 CCR 3400)
    A first aid kit should be located in each area where hazardous chemicals or waste are used or stored.
    The kit shall be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      A record of this inspection shall be maintained with the first aid kit.
      The kit shall be restocked as necessary or during the monthly inspection.
  Spill Response Kits
    Spill response kits shall be located near areas where chemicals are handled, stored, used, or transferred.
    The kits will be inspected monthly by any employee; but it is the responsibility of the Department where the kit is installed to ensure the inspection is performed.
      Any missing, outdated, obsolete, or degraded supplies shall be replaced during the monthly inspection.
    Materials within the spill kit will be appropriate for the chemicals used in the immediate vicinity.
  Chemical Spill Cleanup and Emergency Response Procedures
Incidental Spills
An incidental spill is the release of a hazardous substance which does not pose a significant safety or health hazard to employees in the immediate vicinity or to the employee cleaning it up, nor does it have the potential to become an emergency within a short time frame.
    Incidental spills are limited in quantity, exposure potential, or toxicity and present minor safety or health hazards to employees in the immediate work area or those assigned to clean them up.
    The properties of hazardous substances as well as the particular circumstances of the release itself will have an impact on what employees can handle safely and what procedures should be followed
    Each spill must be evaluated prior to responding. Consult the SDS for guidelines on proper spill clean-up.
    A guideline for Incidental spills quantity:
      would be less than 2 L of low hazard materials, including volatiles and irritants (depending on the chemical)
      less than 50 mL of highly hazardous materials.
    Take the following actions for proper spill cleanup:
      If the spill is of a volatile material, the evacuation of the immediate area is at the discretion of the supervisor and will be based on the nature of the material.
      If the spill is moderate in size but is not large enough to trigger an emergency response action, the immediate area should be evacuated of all employees and students until the spill is properly cleaned up.
      The area of the spill shall be cordoned off by way of caution tape or closing laboratory doors.
      Protective equipment must be worn (goggles, gloves, shoe covers).
      Any sorbent material (pillows, pads, absorbent solids) or other disposable material used shall be packaged in a plastic bag, sealed, and disposed of as hazardous waste.
      If the chemical touches bare earth, surface water, or enters a public sewer, the Chemical Hygiene Officer in consultation with Risk Management will properly notify the San Diego County Hazardous Materials Division of the release for proper reporting and further required actions.
Emergency Response Spills
An emergency spill would constitute that a clean-up response effort would be needed by employees from outside the immediate release area or by other designated responders - (i.e. Hazardous waste hauler, mutual-aid groups, local fire departments, etc.)
The release or situation must pose an emergency. Examples are:
      it may cause high levels of exposures to toxic substances
      it is life or injury threatening,
      it poses IDLH conditions,
      it poses a fire and explosion hazard (exceeds or has potential to exceed 25% of the LEL),
      it requires immediate attention because of danger, or presents an oxygen deficient condition.
**Nuisance spills, minor releases, etc., which do not require immediate attention (due to danger to employees) are not considered emergencies.
    A guideline for emergency spill response would be:
      liquid spills of more than two liters (2 L), depending on type of chemical
      more than fifty milliliters (50 mL) of highly hazardous materials,
      uncontrolled off-gassing of chemical reactions
      Leaking cylinders
    Staff and Faculty will not use respirators during clean-up, if respirators are needed then the procedures below need to be followed:
      Contact College Police Dispatch (6405 or 619-388-6405) to request assistance from the hazardous waste contractor or local Hazardous Materials Response team.
      The Dean or supervisor shall be notified.
      The Vice President of Administrative Services, College Events and Operations Administrator, and the OEHS Coordinator shall be notified of the spill as soon as possible.
        The Regional Facilities Officer (RFO) shall be contacted if assistance is needed.
      Depending on the amount, areas impacted, and the type of chemical, the Emergency Action Plan may be initiated
        The Supervisor or Dean will determine if the Emergency Action Plan needs to be initiated.
      Injured persons shall be assisted and addressed as applicable and contaminated persons, even if injured, shall be isolated.
      The area around the spill/release shall be cordoned off at a safe distance, determined by the amount, scope, and chemical involved.
      For flammable chemical spills or gas releases, all sources of ignition need to be immediately extinguished, including open flames, heating mantles, vacuum pump motors, and powered equipment.
      The Chemical Hygiene Officer or any staff member shall provide the SDS to first responders.

## Slide 60: Procedures for Coordination with Local Emergency Response Organizations
In the event of an emergency involving hazardous materials and/or hazardous waste, all facilities must immediately:
Notify facility personnel and evacuate if necessary in accordance with the Emergency Action Plan (Title 8 California Code of Regulations §3220)
Notify local emergency responders by calling 9-1-1
Notify the local Unified Program Agency (UPA) at (858) 505-6657
Notify the State Warning Center at (800) 852-7550.
Notes: Facilities that generate, treat, store or dispose of hazardous waste have additional responsibilities to notify and coordinate with other response agencies. Whenever there is an imminent or actual emergency situation such as an explosion, fire, or release the Emergency Coordinator must follow the appropriate requirements for the category of facility and type of release involved:
  Title 22 California Code of Regulations §66265.56. Emergency Procedures for generators of 1,000 kilograms or more of hazardous waste in any calendar month.
  Title 22 California Code of Regulations §66265.196. Response to Leaks or Spills and Disposition of Leaking or Unfit-for-Use Tank Systems.
  Title 40 Code of Federal Regulations §302.6. Notification requirements for a release of a hazardous substance equal to or greater than the reportable quantity.
  Title 22 California Code of Regulations §66262.34(d)(2) and Title 40 Code of Federal Regulations §262.34(d)(5)(ii) for generators of less than 1000 kilograms of hazardous waste in any calendar month.

## Slide 61: Procedures for Coordination with Local Emergency Response Organizations
Facilities that generate, treat, store or dispose of hazardous waste have additional responsibilities to notify and coordinate with other response agencies. Whenever there is an imminent or actual emergency situation such as an explosion, fire, or release the Emergency Coordinator must follow the appropriate requirements for the category of facility and type of release involved:
  Title 22 California Code of Regulations §66265.56. Emergency Procedures for generators of 1,000 kilograms or more of hazardous waste in any calendar month.
  Title 22 California Code of Regulations §66265.196. Response to Leaks or Spills and Disposition of Leaking or Unfit-for-Use Tank Systems.

## Slide 62: Procedures for Coordination with Local Emergency Response Organizations
  Title 40 Code of Federal Regulations §302.6. Notification requirements for a release of a hazardous substance equal to or greater than the reportable quantity.
  Title 22 California Code of Regulations §66262.34(d)(2) and Title 40 Code of Federal Regulations §262.34(d)(5)(ii) for generators of less than 1000 kilograms of hazardous waste in any calendar month.

## Slide 63: Procedures for Coordination with Local Emergency Response Organizations
Following notification and before facility operations are resumed in areas of the facility affected by the incident, the Emergency Coordinator shall notify the local UPA and the local fire department’s hazardous materials program, if necessary, that the facility is in compliance with requirements to:
  Provide for proper storage and disposal of recovered waste, contaminated soil or surface water, or any other material that results from an explosion, fire, or release at the facility; and
  Ensure that no material that is incompatible with the released material is transferred, stored, or disposed of in areas of the facility affected by the incident until cleanup procedures are completed.

## Slide 64: Emergency Response and Agent Notification Phone Numbers
EMERGENCY RESPONSE PHONE NUMBERS:
  Ambulance, Fire, Police and CHP .......................................................................9-1-1
  California State Warning Center (CSWC)/CAL OES ………………………….(800) 852-7550
  National Response Center (NRC) ……………………………………………………(800) 424-8802
  Poison Control Center ………………………………………………………..………….(800) 222-1222
  Local Unified Program Agency (UPA) ……………………………………….…….(858) 505-6657
  Nearest Medical Facility/Hospital Name: Sharp Memorial Hospital ..(858)939-3400
AGENCY NOTIFICATION PHONE NUMBERS:
  California Dept. of Toxic Substances Control (DTSC)…………………………(916)255-3545
  Regional Water Quality Control Board (RWQCB)……………………………..(619)516-1990
  U.S. Environmental Protection Agency (US EPA)………………………………(800)300-2193
  California Dept. of Fish and Wildlife (CDFW) …………………………………..(916)358-2900
  U.S. Coast Guard (USCG) …………………………………………………………………(202)267-2180
  CAL OSHA ……………………………………………………………………………………….(916)263-2800
  CAL Fire Office of the State Fire Marshal (OSFM………………………………(916)323-7390

## Slide 65: Emergency Response Procedures for a Release or Threatened Release of Hazardous Materials
Notification
Facility Evacuations
Emergency Containment and Cleanup Procedures
Emergency Equipment
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 66: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Notification:
Internal facility emergency communications or alarm notification will occur by:
Verbal warnings
Telephone
Public address or intercom system
Alarm system
Portable radio
Notifications to neighboring facilities that may be affected by an off-site release will occur by:
Verbal warnings
Telephone
Alarm system
Public address or intercom system
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 67: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Emergency Containment and Cleanup Procedures:
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
monitor for leaks, ruptures, pressure build-up, etc.;
provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
cover or block floor and/or storm drains;
automatic fire suppression system;
eliminate sources of ignition for flammable hazards;
stop processes and/or operations;
automatic / electronic equipment shut-off system;
shut off water, gas, electrical utilities;
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 68: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Emergency Containment and Cleanup Procedures (Continued):
call 9-1-1 for public emergency responder assistance and/or medical aid;
notify and evacuate persons in all threatened and/or impacted areas;
account for evacuated persons immediately after evacuation;
provide protective equipment for on-site emergency response team;
remove containers and/or isolate areas;
hire licensed hazardous waste contractor;
use absorbent material for spill containment;
provide safe temporary storage of hazardous waste generated during emergency actions;
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 69: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Facility Evacuations
The following alarm signal(s) will be used to begin evacuation of the facility:
Bells
Horns/Sirens
Verbal (i.e., Shouting)
For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan or the building evacuation plan for more details on evacuations and ICS
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 70: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Emergency Equipment:
Safety and First Aid
Chemical protective suits, aprons, and/or vests
Chemical protective gloves
Safety glasses, goggles, and face shields
Hard hats
Air-purifying respirators
First aid kits
Plumbed eyewash fountain and/or shower
Portable eyewash kits and/or station
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 71: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Emergency Equipment:
Fire Fighting
Portable fire extinguishers
Fixed fire systems/sprinklers/fire hoses
Fire alarm boxes or stations
Communication and alarm system
Telephones
Intercom/PA system
Portable radios
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 72: Emergency Response Procedures for a Release of Threatened Release of Hazardous Materials
Emergency Equipment:
Spill Control and Cleanup
All in one spill kit
Absorbent material
Container for used absorbent
Broom
Shovel
Shop vac
Exhaust hood
Chemical neutralizers
Notes: Emergency response procedures for a release or threatened release of hazardous materials.
In the event of a hazardous material release or threatened release the campus will take the following actions to protect life and the environment.
  Notification
    Internal facility emergency communications or alarm notification will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
      portable radio
    Notifications to neighboring facilities that may be affected by an off-site release will occur by:
      verbal warnings;
      public address or intercom system;
      telephone;
      alarm system;
  Emergency Containment and Cleanup Procedures
Our facility’s procedures for containing spills and preventing and mitigating releases, fires and/or explosions are the following:
    monitor for leaks, ruptures, pressure build-up, etc.;
    provide absorbent physical barriers (e.g., pads, spill pigs, spill pillows);
    cover or block floor and/or storm drains;
    automatic fire suppression system;
    eliminate sources of ignition for flammable hazards;
    stop processes and/or operations;
    automatic / electronic equipment shut-off system;
    shut off water, gas, electrical utilities;
    call 9-1-1 for public emergency responder assistance and/or medical aid;
    notify and evacuate persons in all threatened and/or impacted areas;
    account for evacuated persons immediately after evacuation;
    provide protective equipment for on-site emergency response team;
    remove containers and/or isolate areas;
    hire licensed hazardous waste contractor;
    use absorbent material for spill containment;
    provide safe temporary storage of hazardous waste generated during emergency actions;
  Facility Evacuations
    The following alarm signal(s) will be used to begin evacuation of the facility:
      Bells
      Horns/Sirens
      Verbal (i.e., Shouting)
    For emergency assembly areas please view the evacuation maps that are posted in the individual buildings: Also see the Mesa College Emergency Plan for more details on evacuations and ICS
  Emergency Equipment (located in various place around campus)
    Safety and first aid
      chemical protective suits, aprons, and/or vests
      chemical protective gloves
      safety glasses, goggles, and face shields
      hard hats
      air-purifying respirators
      first aid kits
      plumbed eyewash fountain and/or shower
      portable eyewash kits and/or station
    Fire fighting
      Portable fire extinguishers
      Fixed fire systems/sprinklers/fire hoses
      Fire alarm boxes or stations
    Spill control and cleanup
      All in one spill kit
      Absorbent material
      Container for used absorbent
      Broom
      Shovel
      Shop vac
      Exhaust hood
      Chemical neutralizers
    Communication and alarm system
      Telephones
      Intercom/PA system
      Portable radios

## Slide 73: Next Steps:
Please visit https://bit.ly/MesaHMBPquiz or scan the QR Code below to complete the quiz. In order to receive credit, you must score a minimum of 80%.
Please see the link below to view the full plans for which this information originated from:
https://www.sdmesa.edu/college-services/safety/references/safety-policies-plans.shtml
If you have any questions, please contact Matt Fay at mfay@sdccd.edu.